## Slide 1
CFARS 2019 Q2 European Update
(Consortium for Advancement of Remote Sensing)
Philippe Coulombe-Pontbriand
CFARS 25th of June 2019

## Slide 2
Agenda
CFARS Overview and 2018
summary
Mission, Vision and Values
2021 Horizon
2018 Key Accomplishments
Working Groups
Next Meetings

## Slide 3
Objectives
Bring all of you up to speed
with CFARS activities
Clearly define 2019
roadmap
Close 2018 activities

## Slide 5
CFARS : Afternoon Sessions
Afternoon session: 13:30 – 16:30 (Moderated by Philippe Pontbriand)
13:30 - 14:15 2019 Roadmap definition – Presentation from sub-groups
14:30 – 15:30: CFARS presentations
  H&S and measurement campaign (Aaron Waldman, RES)
  Turbulence and RSD (Alex St.Pe. E.On.)
  Vaisala Vector Averaging Follow up
15:30 to 16:30: Survey Feedback and Wrap up
16:30 – 17:00 Next Meeting

## Slide 6: CFARS - Overview
2017-18 members:
Major North American wind project owners, developers, operators, 3rd consultants, OEM and tech providers
Industry RSD facilitor:
Working group enabling collaboration on projects promoting the acceptance and standardization of Remote Sensing use.
Private industry players:
Private players supporting the different groups working on remote sensing use acceptance and standardization.
Who
How
Create consensus:
Seek industry consensus around the use of RS. Speak with a common voice.
Build bridges:
Build bridges between industry players, research centers, standardization body and tasks. Support IEC 61400-15 working group.
Rapidly address private industry RS needs :
Steer short term projects aimed at supporting private industry needs
Why
Access to information
Give access to a large pool of industry RS data from private sector.
Support RS validation projects
Join members' resources to support short term practical projects validating use of RS
Jointly present results
Present compelling results to banks (tax equity), the broad industry and other stakeholders
Notes: Explain the consortium. The have people involved stand up.

## Slide 7: CFARS Mission – Vision - Values
Open
Results Driven
LOW ENTRY BARRIER
INFORMATION SHARING
INCLUDE MEMBERS FROM ALL HORIZON
SHARE BEST PRACTICES
SOCIALIZE FINDINGS
UNITED MESSAGE
SUBGROUP CHAMPIONS
Increase acceptance of Remote Sensing Device (RSD) by sharing information and involving the broad industry
Reduce project development costs by supporting/enabling standardization and acceptance of RSD
Reduce uncertainty of pre-construction estimates by demonstrating and leveraging the value of RSD
CLEAR GOALS
SHORT TERM GOALS
Collaborative
Mission
Vision
Leadership
Significantly contribute to the competitiveness of the wind industry by 2021 through broader acceptance/validation of RSD
Values

## Slide 8: CFARS – The 2021 Horizon
Short Term - Q1/2 - 2019
Medium Term - Q2/3 - 2020
Long Term - Q1 - 2021
Final State - Q4 - 2021
Guidance
Improve acceptance of RSD via guidance
Science
Improve acceptance RSD via science
Acceptance Criteria
Evaluate acceptance
criteria
Evaluation of Industry Status

## Slide 9: CFARS 2018 Roadmap - Achievements
Official expression of interest by members | First meeting - Working groups | Second meeting groups update | AWEA Gen. meeting | Summary of act. and 2019 RM
Proposed milestone | Description
Official expression of interest by members | Seek formal expression of interest by members Get commitment from members to make the consortium a success Get commitment to take part in the consortium meeting
First official consortium meeting | Presentation of the official members Creation of the working groups (Guidance, Science) and assignment of group leads
Second consortium meeting | Presentation of advancement of projects by the working groups Preparation for broader diffusion of outcome (AWEA, etc)
AWEA preparation | Support AWEA in preparation of a panel on remote sensing Discuss how to present consortium to a broader audience
December 2017 January 2018 May 2018 August 2018 December 2018

## Slide 10: CFARS Working Groups
CFARS
Consortium For Advancement Remote Sensing
Guidance
Working Group
Science
Working Group

## Slide 11: CFARS Working Groups
CFARS
Consortium For Advancement Remote Sensing
Guidance
Working Group
Science
Working Group
Leadership
Group

## Slide 12: 2018-2021 CFARS General Roadmap - Guidance
2019

## Slide 13: 2018-2021 CFARS General Roadmap - Guidance

## Slide 14: CFARS Guidance Working Group – Matthew Meyers E.ON
CFARS
Increase Acceptance of RSDs
Mission:
Provide Data-Driven Recommendations on RSD Standardization and Acceptance
Guidance
Working Group
Matthew Meyers – Group Lead
Scope 2
Colocation
Validation
Scope 3
Acceptance
Criteria
Scope 1
Baseline

## Slide 15
Key Accomplishments:
Roadmap & Next Steps:
Survey
(Q1 ’19)
Centralize Public
Docs.
(Q2 ’19)
Centralize ‘in house’
Best Practices
(Q2 ’19)
Inform Science and Guidance Scope 2-3
(Q2 ’19)
Mission:
Summarize current state of the North-American RSD industry by end of Q2-2019
Inform science and Scope 2-3 Guidance group
CFARS Guidance – Scope 1 Baseline – Jeff Fine – RES-Group
Survey group formed
  Met 5 times
  Broad range of participants
Survey form ready and released
Survey data beign compiled
SURVEY

## Slide 16
Scope Definition:
Roadmap & Next Steps:
Gather Colocation
Dataset
(Q2 ’19)
Results Validation
(Q2 20’)
Results Publication
(Q3 ’20)
Inform Science and Guidance Scope 3
(Q3 ’20)
Mission:
Scope 2: Collaborate to provide data driven colocation validation best practices
Scope 3: Collaborate to develop data driven consensus acceptance criteria
CFARS Guidance – Scope 2-3 Reesa Dexter DNV-GL / Matthew Meyers E.ON
SUBGROUP
TO BE FORMED IN 2019
Scope 2: Colocation Validation
Scope 3: Acceptance Criteria

## Slide 17: CFARS Science Working Group – Alexandra St. Pé E.ON
CFARS
Increase Acceptance of RSDs
Mission:
Provide Data-Driven Answers to Key RSD Science Questions
Flow
Correction
Power
Curves
Energy
Uncertainty
Science
Working Group
Site
suitability
Alexandra St. Pé – Group Lead

## Slide 18
‘Scope 1’ Research Questions & Methods for Tests Defined:
  Phase 1 Tests: Is the average TI bias between a corrected RSD and reference anemometer similar to the average TI bias between a reference anemometer and different anemometer?
  Phase 2 Tests: What are the most accurate & precise “in-house” RSD TI correction methods?
Key Accomplishments:
vs.
&
&
Reference Anemometer TI
Anemometer 2
Reference Anemometer TI
Corrected RSD TI
Corrected RSD TI
&
Reference
Anemometer TI
High Precision & High Accuracy
Roadmap & Next Steps:
Dataset Preparation Complete
(Q3 ’18)
Phase 1 Tests
Complete
(Q4 ’18)
Phase 2 Tests
Complete
(Q3 ’19)
Develop & Align on Best Practice RSD TI Correction Methods
(Q1 ’20)
Mission:
Provide data-driven answers to key RSD site suitability science questions
Brainstorm and work towards solutions to hurdles that hinder the acceptance of RSD use for site suitability assessment
CFARS Site Suitability – Alexandra St. Pé – E.ON

## Slide 19
Key Accomplishments:
Roadmap & Next Steps:
Present early results AWEA 2018
(Q3 ’18)
Phase 1 Get the working group to replicate
(Q2 ’19)
Phase 2 Tests
Complete
(Q3 ’19)
Present the Results of a Broad Pool of Tests
(Q4 ’19)
Mission:
Provide data-driven performance validation of RSD use for Power Curve Testing
A platform for the industry to brainstorm on performance of RSD for power curve testing
Provide data to support the IEC 61400 – 12 -1 Edition 2
CFARS Science – Power Curve – Rolando Tejeda – RES-Group
Power Curve Performance Test with SODAR, LiDAR, and Anemometer: A Comparison Study.
Wednesday, September 12, 2018: 1:30 PM - 3:00 PM
=

## Slide 20
Key Accomplishments:
Mission:
Improve RSD acceptance through better understanding and ideally reducing uncertainty associated to the use of RSD in pre-construction estimates
CFARS Science – Uncertainty – Philippe Pontbriand RES-Group – Reesa Dexter DNV-GL
Concept Presentation – Calibrate to Power
- Initial concept developed by Peter Stuart RES- Group, Andy Clifton, Matt Smith ZephIR
- Plan to hold a brainstorming session on the topic with Europe, Offshore industry and the major players
RSD
RSD

## Slide 21
Scope Definition:
Mission:
Provide data-driven validation of methods used to correct RSD measurement in complex flow
Improve acceptance of RSD use in complex flow by 2021
CFARS Science – Complex Flow – Paul M. – Vaisala
Show typical flow curvature bias based on terrain complexity and roughness
Validate commercially available bias correction methods
Evaluate correction uncertainty as a function of site and measurement height
Demonstrate the value in correcting RSD measurements
Project kick-off in Q4 2018 (October)
Roadmap will be decided based on survey results
Validation study, uncertainty analysis, comparison of commercial correction offerings, or white paper on theory with terrain type / bias classification.
Actively seeking members – please contact Niels.LaWhite@Vaisala.com

## Slide 22
2019 Q2 – In Europe!
Next Meeting
Think about this…

## Slide 23
General CFARS Topics
Philippe Coulombe-Pontbriand
Philippe.Pontbriand@res-group.com
Get Involved!
CFARS Guidance Group
Matthew Meyers
matthew.meyers@eon.com
CFARS Science Group
Alexandra St. Pé
alexandra.st.-pe@eon.com